## Parts 2026
Revised Attachment A Price Sheet
RFQ 2018 Plumbing Parts and Components
Vendor Name:
Due Date: March 19, 2026, no later than 4:30 PM
Line Number | KSU Part Number | Plumbing RFP-Short Part Description | Specified Manufacturer / Brand /Part Number | Equivalent manufacturer / Brand | Unit of Measure | Foreign (F) /Domestic (D) | Qty Used 3 Years | Bid Price | Vendor Comments e.g. Sold in Packs of
1 | PS1326 | SUPPLY LINE SS FLEX 3/8COMPX3/8COMPX16"(FLUIDMASTER#B6F16) - PS1326 | FLUIDMASTER B6F16 |  | EA |  | 18
2 | PS1334 | SUPPLY LINE SS FLEX 3/8COMPX3/8COMPX20"(FLUIDMASTER#B6F20) - PS1334 | FLUIDMASTER /B6F20 |  | EA |  | 61
3 | PS1318 | SUPPLY LINE SS FLEX 3/8COMPX3/8COMPX12"(FLUIDMASTER#B6F12) - PS1318 | FLUIDMASTER/B6F12 |  | EA |  | 53
4 | P-G-03 | GAUGE BACK TAP DRY 1/4 IN NPT 2-1/2 IN FACE 0-30 LB - P-G-03 |  |  | EA |  | 9
5 | P-G-30 | GAUGE BOT TAP DRY 1/4" NPT 4" FACE 0-60# 800B 40 02 L A 60 - P-G-30 |  |  | EA |  | 10
6 | P-G-25 | GAUGE DRY 4" FACE 1/4" NPT 0-30# TRERICE 800B 40 02 L A 090 - P-G-25 | TRERICE |  | EA |  | 8
7 | P-G-27 | GAUGE BOT TAP DRY 1/4" NPT 4" FACE 0-100# 800B 40 02 L A 110 - P-G-27 | TRERICE |  | EA |  | 27
8 | P-G-28 | GAUGE BOT TAP DRY 1/4" NPT 4" FACE 0-160# 800B 40 02 L A 120 - P-G-28 | TRERICE |  | EA |  | 7
9 | P-G-29 | GAUGE BOT TAP DRY 1/4" NPT 4" FACE 0-200# 800B 40 02 L A 130 - P-G-29 | TRERICE |  | EA |  | 7
10 | P-G-32 | GAUGE BOTTOM TAP DRY 1/4" NPT 4" FACE 0-30 LB (800B 40 02 L A 030) - P-G-32 | TRERICE |  | EA |  | 9
11 | P-G-13 | GAUGE REFRIGERATION HIGH SIDE - P-G-13 |  |  | EA |  | 10
12 | P-G-26 | GAUGE BOT LIQ 1/4" NPT 3 1/2" FACE 0-30# 800LFB 35020L A 090 - P-G-26 | TRERICE |  | EA |  | 8
13 | P-G-20 | GAUGE BACK TAP 1/4 IN NPT 2" FACE 0-160 LB - P-G-20 |  |  | EA |  | 18
14 | P-GA07 | PIGTAIL BLACK OR STEEL 1/4 IN CLASS 150 - P-GA07 |  |  | EA |  | 17
15 | PBCP-B | PLUG CLEANOUT BRASS 1-1/2 IN RAISED LOW SQUARE HEAD - PBCP-B |  |  | EA |  | 6
16 | PS5052 | WASHER BIBB FLAT 1/4 IN SHORT - PS5052 |  |  | EA |  | 82
17 | PS5058 | WASHER BIBB FLAT 1/2 IN - PS5058 |  |  | EA |  | 32
18 | PS6344 | WASHER SLIP JOINT 1-1/2 IN 1-1/4 IN - PS6344 |  |  | EA |  | 29
19 | PS6349 | WASHER SLIP JOINT 1-1/2 IN RUBBER - PS6349 |  |  | EA |  | 13
20 | PS7633 | WASHER FLANGE TAILPIECE VINYL 1-1/2 IN - PS7633 |  |  | EA |  | 22
21 | PS6789 | GASKET 5/8" L SQ CUT GLASS GAUGE 13/16ODX9/16'IDX5/16"THICK - PS6789 |  |  | EA |  | 10
22 | PS7395 | SYMMONS SAFETYMIX# WASHER REPAIR KIT TA-9 - PS7395 | SYMMONS |  | EA |  | 17
23 | PS6130 | WASHER O-RING #42 (SLOAN OEM# H-553 OR 5308696) - PS6130 | SLOAN |  | EA |  | 23
24 | PS3872 | TAPE TEFLON PTFE PIPE JOINT 1/2 IN X 540 IN 4 MIL - PS3872 |  |  | EA |  | 396
25 | PS4758 | VALVE SUPPLY ANGLE 1/2 IN SWEAT X 3/8 IN COMPRESSION CHROME - PS4758 |  |  | EA |  | 12
26 | PS6269 | COUPLING SUPPLY 3/8 IN FEMALE NPT X 3/8 IN COMPRESSION CHROM - PS6269 |  |  | EA |  | 23
27 | PS6270 | COUPLING SUPPLY 1/2 IN FEMALE NPT X 3/8 IN COMPRESSION CHRO - PS6270 |  |  | EA |  | 24
28 | PS6272 | COUPLING SUPPLY ANGLE 1/2 IN FEMALE NPT X 3/8 IN COMP CHROME - PS6272 |  |  | EA |  | 14
29 | PS6273 | COUPLING SUPPLY 3/8 IN MALE NPT X 3/8 IN COMPRESSION CHROME - PS6273 |  |  | EA |  | 22
30 | PS6274 | COUPLING SUPPLY 1/2 IN MALE NPT X 3/8 IN COMPRESSION CHROME - PS6274 |  |  | EA |  | 17
31 | PS6754 | VALVE SUPPLY ANGLE 3/8 IN FEMALE NPT X 3 /8 IN COMP CHROME - PS6754 |  |  | EA |  | 22
32 | PS6755 | VALVE SUPPLY ANGLE 1/2 IN FEMALE NPT X 3/8 IN COMP CHROME - PS6755 |  |  | EA |  | 16
33 | PS6758 | VALVE SUPPLY STRAIGHT 1/2 IN FEMALE NPT X 3/8 IN COMP CHROME - PS6758 |  |  | EA |  | 12
34 | PS4760 | VALVE SUPPLY ANGLE 1/4 TURN X 5/8 OD X 3/8 OD COM CHROME - PS4760 |  |  | EA |  | 324
35 | PS4767 | VALVE SUPPLY STRAIGHT 5/8 OD COMP X 3/8 OD COMP CHROME - PS4767 |  |  | EA |  | 18
36 | PS5150 | LUBRICANT, FAUCET & VALVE STEM GREASE WHITLAM#HPG2/HERCULES - PS5150 | WHITLAM |  | CN |  | 25
37 | PS6843 | BRUSH ACID #2 FLUX - PS6843 |  |  | EA |  | 128
38 | PS6857 | BRUSH FITTING PLUMBING 1/2 IN ID (MILL-ROSE #63035 ONLY) - PS6857 | MILL-ROSE |  | EA |  | 17
39 | PS6858 | BRUSH FITTING PLUMBING 3/4 IN ID (MILL-ROSE #63060 ONLY) - PS6858 | MILL-ROSE |  | EA |  | 10
40 | PS6045 | BOLT CLOSET 1/4 IN PAIR - PS6045 |  |  | EA |  | 13
41 | PS6047 | BOLT, CLOSET 5/16 W/WASHER PAIR - PS6047 |  |  | EA |  | 24
42 | PS6057 | BOLT CLOSET TANK BRASS PAIR W/WASHERS & NUTS 5/16 X 3 - PS6057 |  |  | EA |  | 18
43 | PS6606 | PLUNGER FLAT 6 IN - PS6606 |  |  | EA |  | 8
44 | PS6607 | PLUNGER CLOSET ROUND W/HANDLE (RPM C-17A OR EQUIVALENT) - PS6607 |  |  | EA |  | 6
45 | PS5488 | KIT HANDLE REBUILD (SLOAN #B-50-A) - PS5488 | SLOAN |  | EA |  | 11
46 | PS6401 | HANDLE ASSEMBLY FLUSH, STANDARD LENGTH (SLOAN #B32A) - PS6401 | SLOAN |  | EA |  | 21
47 | PS9222 | COVER INSIDE (SLOAN A-71) - PS9222 |  |  | EA |  | 9
48 | PS9846 | STOP CLOSET ASSEMBLY 1 IN (SLOAN H541ASD) - PS9846 | SLOAN |  | EA |  | 17
49 | PS9847 | STOP URINAL ASSEMBLY 3/4 IN (SLOAN # H-543-ASD #3308856) - PS9847 | SLOAN |  | EA |  | 8
50 | PS5346 | STEM ASSEMBLY THREAD LEFT HAND HOT CHICAGO (1-100XTJKABNF) - PS5346 | CHICAGO |  | EA |  | 43
51 | PS5347 | STEM ASSEMBLY THREAD RIGHT HAND COLD CHICAGO(1-099XTJKABNF) - PS5347 | CHICAGO |  | EA |  | 41
52 | PS7320 | NUT BONNET CHICAGO 1-214JKCP - PS7320 | CHICAGO |  | EA |  | 14
53 | PT-INS | INSULATION FOAM SPRAY 12 OZ CAN - PT-INS |  |  | CN |  | 74
54 | PS5198 | PLUG URINAL 5/8" IN DIAMETER X 3/4" LENGTH KOHLER #21403 - PS5198 |  |  | EA |  | 10
55 | PS6112 | PLUG URINAL 1" X 1/2" #2 - PS6112 |  |  | EA |  | 11
56 | PS6299 | NUT SLIP JOINT ZINC 1-1/4 W/WASHER & FRICTION RING(WOLFF SEE EXTRA DESCRIPTION) - PS6299 PASCO # 1346-C |  |  | EA |  | 115
57 | PS6301 | NUT SLIP JOINT W/WASHER & FRICTION RING 1-1/2 IN X 1-1/4 IN - PS6301 |  |  | EA |  | 11
58 | PS6303 | NUT SLIP JOINT W/WASHER & FRICTION RING 1-1/2 IN PASCO1348-C OR(WOLFF PARTS RC2227, RC2681, SLN5306057) - PS6303 |  |  | EA |  | 33
59 | PS7057 | AEREATOR ADAPTER 3/8 IN MALE NPT X 15/16 IN MALE - PS7057 |  |  | EA |  | 10
60 | PS7555 | AERATOR ADAPTER 13/16-24 F X 55/64-27 M (CHICAGO K4JKABCP) - PS7555 | CHICAGO |  | EA |  | 26
61 | PS1273 | HEAD SHOWER ABS 1/2 IN FIP CHROME PLATED W/BRASS CP BALL JNT - PS1273 |  |  | EA |  | 10
62 | PS6676 | TOOL STOPCOCK 4-IN-1 WATER KEY PASCO #1701- PS6676 |  |  | EA |  | 50
63 | PS8998 | SHOWER HEAD (JONES STEPHENS S01015) - PS8998 |  |  | EA |  | 6
64 | PS9338 | VACUUM BREAKER KIT (SLOAN-SPEAKMAN V-551-A) - PS9338 | SLOAN |  | EA |  | 69
65 | PSZURN | KEY, 3/8" SQUARE ZURN P1300-PART-13-KEY HYDRANT - PSZURN |  |  | EA |  | 40
66 | PS5348 | STEM ASSEMBLY, QUARTURN CARTRIDGE LH / HOT CHICAGO (377-XTLHJKABNF)- PS5348 | CHICAGO |  | EA |  | 12
67 | PS5349 | STEM ASSEMBLY QUATURN CARTRIDGE RH CHICAGO#WWG377-XTRHJKABNF - PS5349 | CHICAGO |  | EA |  | 11
68 | PS7894 | SPUD 1-1/2 IN X 1-1/2 IN AMERICAN STND 047007-0070A - PS7894 |  |  | EA |  | 13
69 | PS7897 | SPUD 1-1/4 IN X 3/4 IN URINAL BRASS/RUBBER - PS7897 |  |  | EA |  | 7
70 | PS8695 | CONNECTOR GROUND JOINT 1-1/2 IN MALE NPT UNION (DESANKO) - PS8695 |  |  | EA |  | 7
71 | PS9344 | VACUUM BREAKER INSERT KIT (SLOAN PT#V-101-A) - PS9344 | SLOAN |  | EA |  | 9
72 | PS9258 | VACUUM BREAKER CLOSET 1-1/2 IN X 9 IN (SLOAN #V-500-AA) - PS9258 | SLOAN |  | EA |  | 13
73 | PS6101 | STRAINER CUP #1 - PS6101 |  |  | EA |  | 19
74 | PS6102 | STRAINER CUP #2 - PS6102 |  |  | EA |  | 14
75 | PS6219 | STRAINER 3-5/16 BASKET - PS6219 |  |  | EA |  | 10
76 | PS7645 | STRAINER P O PLUG W/ GRID 1-1/4 IN X 6 IN 17GAGE - PS7645 |  |  | EA |  | 14
77 | PS6233 | TAILPIECE THREADED 1-1/4 IN X 8 IN TUBE 17 GAGE - PS6233 |  |  | EA |  | 21
78 | PS6235 | TAILPIECE THREADED 1-1/4 IN X 12 IN TUBE 17 GAGE - PS6235 |  |  | EA |  | 9
79 | PS7676 | TUBE EXTENSION SLIP JOINT 1-1/4 IN X 8 IN TAILPIECE 17 GAGE - PS7676 |  |  | EA |  | 82
80 | PS6282 | TAILPIECE 1-1/2 IN X 4 IN TUBE 17 GAGE (GRAINGER #4WDH8) - PS6282 |  |  | EA |  | 19
81 | PS7677 | TUBE EXTENSION SLIP JOINT 1-1/2 IN X 8 IN TAILPIECE 17 GAGE - PS7677 |  |  | EA |  | 8
82 | PS1836 | TUBE EXTENSION SLIP JOINT 1-1/2 IN X 12 IN TAILPIECE 17 GAGE - PS1836 |  |  | EA |  | 7
83 | PS6234 | TAILPIECE THREADED 1-1/2 IN X 8 IN TUBE 17 GAGE - PS6234 |  |  | EA |  | 6
84 | PS0838 | SUPPLY LINE SS FLEX 1/2" IPT X 1/2" COMP X 20" - PS0838 | FLUIDMASTER/B3F20 |  | EA |  | 12
85 | PS0839 | SUPPLY LINE SS FLEX 3/8" COMP X 1/2" F-NPT X 12" (B1F12) - PS0839 | FLUIDMASTER/B1F12 |  | EA |  | 64
86 | PS0842 | SUPPLY LINE SS FLEX 3/8" COMP X 1/2" FPT X 20" (B1F20) - PS0842 | FLUIDMASTER/B1F20 |  | EA |  | 60
87 | PS0843 | SUPPLY LINE SS FLEX CLOSET X 1/2" COMP X 12" (B3T12) - PS0843 | FLUIDMASTER/B3T12 |  | EA |  | 6
88 | PS0844 | SUPPLY LINE SS FLEX CLOSET 3/8" X7/8 COMP X 12" (B1T12) - PS0844 | FLUIDMASTER/B1T12 |  | EA |  | 43
89 | PS7729 | LEVER TANK TOILET FLUSH #3 HANDLE 8 IN - PS7729 |  |  | EA |  | 8
90 | PS8613 | VALVE FLAPPER LAVELLE INDUSTRIES KOR2001BP - PS8613 |  |  | EA |  | 8
91 | PS8621 | TRAP P 1-1/4 IN 17 GAGE PTRAP - PS8621 |  |  | EA |  | 228
92 | PS8618 | TRAP P 1-1/2 IN 17 GAGE PTRAP - PS8618 |  |  | EA |  | 37
93 | PS2576 | VALVE FILL TOILET TANK BALLCOCK ASSEMBLY FLUIDMASTER PRO45 - PS2576 | FLUIDMASTER |  | EA |  | 14
94 | PPT-0B | TEE DWV PVC 1-1/2 IN - PPT-0B |  |  | EA |  | 17
95 | PPT-0C | TEE DWV PVC 2 IN - PPT-0C |  |  | EA |  | 7
96 | PPFA-B | ADAPTER DWV PVC FEMALE 1-1/2 IN - PPFA-B |  |  | EA |  | 15
97 | PPFA-C | ADAPTER DWV PVC FEMALE 2 IN - PPFA-C |  |  | EA |  | 15
98 | PPMA-B | ADAPTER DWV PVC MALE 1-1/2 IN - PPMA-B |  |  | EA |  | 42
99 | PPMA-C | ADAPTER DWV PVC MALE 2 IN - PPMA-C |  |  | EA |  | 8
100 | PPL9-B | ELBOW DWV PVC 1-1/2 IN X 90 - PPL9-B |  |  | EA |  | 63
101 | PPL9SB | ELBOW DWV PVC STREET 1-1/2 IN X 90 SPIGOT X HUB - PPL9SB |  |  | EA |  | 31
102 | PPL9-C | ELBOW DWV PVC 2 IN X 90 - PPL9-C |  |  | EA |  | 20
103 | PPL9SC | ELBOW DWV PVC STREET 2 IN X 90 - PPL9SC |  |  | EA |  | 11
104 | PPL4-B | ELBOW DWV PVC 1-1/2 IN X 45 (WHITE) - PPL4-B |  |  | EA |  | 13
105 | PPL4-C | ELBOW DWV PVC 2 IN X 45 - PPL4-C |  |  | EA |  | 6
106 | PPL4SC | ELBOW DWV PVC STREET 2 IN X 45 - PPL4SC |  |  | EA |  | 6
107 | PPC-0B | COUPLING DWV PVC 1-1/2 IN - PPC-0B |  |  | EA |  | 10
108 | PPC-0C | COUPLING DWV PVC 2 IN - PPC-0C |  |  | EA |  | 21
109 | PPGJC1 | ADAPTER PVC DWV TRAP 1-1/4 IN THREAD X 1-1/2 FEMALE SOCKET - PPGJC1 |  |  | EA |  | 29
110 | PPBCXB | BUSHING DWV PVC 2 IN X 1-1/2 IN - PPBCXB |  |  | EA |  | 20
111 | PPVTA | TEE PVC SCHED 40 1/2" - PPVTA |  |  | EA |  | 9
112 | PPVTB | TEE PVC SCHED 40 3/4" - PPVTB |  |  | EA |  | 8
113 | PPVTC | TEE PVC SCHED 40 1-1/4" - PPVTC |  |  | EA |  | 6
114 | PPVTD | TEE PVC SCHED 40 1-1/2" - PPVTD |  |  | EA |  | 6
115 | PPVFAA | FEMALE ADAPTER PVC SCHED 40 1/2" - PPVFAA |  |  | EA |  | 9
116 | PPVFAB | FEMALE ADAPTER PVC SCHED 40 3/4" - PPVFAB |  |  | EA |  | 7
117 | PPVFAC | FEMALE ADAPTER PVC SCHED 40 1-1/4" - PPVFAC |  |  | EA |  | 7
118 | PPVMAA | MALE ADAPTER PVC SCHED 40 1/2" - PPVMAA |  |  | EA |  | 12
119 | PPVMAB | MALE ADAPTER PVC SCHED 40 3/4" - PPVMAB |  |  | EA |  | 10
120 | PPVMAE | MALE ADAPTER PVC SCHED 40 2" - PPVMAE |  |  | EA |  | 6
121 | PPVL9A | ELBOW PVC SCHED 40 1/2" X 90 - PPVL9A |  |  | EA |  | 26
122 | PPVL9B | ELBOW PVC SCHED 40 3/4" X 90 - PPVL9B |  |  | EA |  | 53
123 | PPVL9C | ELBOW PVC SCHED 40 1 - 1/4" X 90 - PPVL9C |  |  | EA |  | 17
124 | PPVL9D | ELBOW PVC SCHED 40 1 - 1/2" X 90 - PPVL9D |  |  | EA |  | 19
125 | PPVL9E | ELBOW PVC SCHED 40 2" X 90 - PPVL9E |  |  | EA |  | 12
126 | PPVL4A | ELBOW PVC SCHED 40 1/2" X 45 - PPVL4A |  |  | EA |  | 22
127 | PPVL4B | ELBOW PVC SCHED 40 3/4"" X 45 - PPVL4B |  |  | EA |  | 36
128 | PPVL4D | ELBOW PVC SCHED 40 1 - 1/2" X 45 - PPVL4D |  |  | EA |  | 6
129 | PPVCB | COUPLING PVC SCHED 40 3/4" - PPVCB |  |  | EA |  | 25
130 | PPVCD | COUPLING PVC SCHED 40 1-1/2" - PPVCD |  |  | EA |  | 6
131 | PPVCE | COUPLING PVC SCHED 40 2" - PPVCE |  |  | EA |  | 6
132 | PBB2X1 | BUSHING BLACK 1/4 IN X 1/8 IN CLASS 150 - PBB2X1 |  |  | EA |  | 7
133 | PBB3X2 | BUSHING BLACK 3/8 IN X 1/4 IN CLASS 150 - PBB3X2 |  |  | EA |  | 16
134 | PBB4X2 | BUSHING BLACK 1/2 IN X 1/4 IN CLASS 150 - PBB4X2 |  |  | EA |  | 19
135 | PBB4X3 | BUSHING BLACK 1/2 IN X 3/8 IN CLASS 150 - PBB4X3 |  |  | EA |  | 10
136 | PBB6X2 | BUSHING BLACK 3/4 IN X 1/4 IN CLASS 150 - PBB6X2 |  |  | EA |  | 11
137 | PBB6X3 | BUSHING BLACK 3/4 IN X 3/8 IN CLASS 150 - PBB6X3 |  |  | EA |  | 7
138 | PBB6X4 | BUSHING BLACK 3/4 IN X 1/2 IN CLASS 150 - PBB6X4 |  |  | EA |  | 13
139 | PBB8X2 | BUSHING BLACK 1 IN X 1/4 IN CLASS 150 - PBB8X2 |  |  | EA |  | 7
140 | PBB8X4 | BUSHING BLACK 1 IN X 1/2 IN CLASS 150 - PBB8X4 |  |  | EA |  | 14
141 | PBB8X6 | BUSHING BLACK 1 IN X 3/4 IN CLASS 150 - PBB8X6 |  |  | EA |  | 24
142 | PBBAX4 | BUSHING BLACK 1-1/4 IN X 1/2 IN CLASS 150 - PBBAX4 |  |  | EA |  | 18
143 | PBBAX6 | BUSHING BLACK 1-1/4 IN X 3/4 IN CLASS 150 - PBBAX6 |  |  | EA |  | 6
144 | PBBAX8 | BUSHING BLACK 1-1/4 IN X 1 IN CLASS 150 - PBBAX8 |  |  | EA |  | 17
145 | PBBBX6 | BUSHING BLACK 1-1/2 IN X 3/4 IN CLASS 150 - PBBBX6 |  |  | EA |  | 8
146 | PBBBXA | BUSHING BLACK 1-1/2 IN X 1-1/4 IN CLASS 150 - PBBBXA |  |  | EA |  | 20
147 | PBBCX4 | BUSHING BLACK 2 IN X 1/2 IN CLASS 150 - PBBCX4 |  |  | EA |  | 7
148 | PBBCX6 | BUSHING BLACK 2 IN X 3/4 IN CLASS 150 - PBBCX6 |  |  | EA |  | 25
149 | PBBCX8 | BUSHING BLACK 2 IN X 1 IN CLASS 150 - PBBCX8 |  |  | EA |  | 10
150 | PBBCXB | BUSHING BLACK 2 IN X 1-1/2 IN CLASS 150 - PBBCXB |  |  | EA |  | 6
151 | PBBDXC | BUSHING BLACK 2-1/2 IN X 2 IN CLASS 150 - PBBDXC |  |  | EA |  | 8
152 | PBC-02 | COUPLING BLACK 1/4 IN CLASS 150 - PBC-02 |  |  | EA |  | 18
153 | PBC-03 | COUPLING BLACK 3/8 IN CLASS 150 - PBC-03 |  |  | EA |  | 10
154 | PBC-04 | COUPLING BLACK 1/2 IN CLASS 150 - PBC-04 |  |  | EA |  | 17
155 | PBC-06 | COUPLING BLACK 3/4 IN CLASS 150 - PBC-06 |  |  | EA |  | 8
156 | PBC-08 | COUPLING BLACK 1 IN CLASS 150 CLASS 150 - PBC-08 |  |  | EA |  | 15
157 | PBC-0C | COUPLING BLACK 2 IN CLASS 150 - PBC-0C |  |  | EA |  | 10
158 | PBC2X1 | COUPLING BLACK REDUCING 1/4 IN X 1/8 IN CLASS 150 - PBC2X1 |  |  | EA |  | 6
159 | PBC3X2 | COUPLING BLACK 3/8 IN X 1/4 IN BELL REDUCER CLASS 150 - PBC3X2 |  |  | EA |  | 6
160 | PBC4X2 | COUPLING BLACK 1/2 IN X 1/4 IN BELL REDUCER CLASS 150 - PBC4X2 |  |  | EA |  | 8
161 | PBC4X3 | COUPLING BLACK 1/2 IN X 3/8 IN BELL REDUCER CLASS 150 - PBC4X3 |  |  | EA |  | 16
162 | PBC6X2 | COUPLING BLACK 3/4 IN X 1/4 IN BELL REDUCER CLASS 150 - PBC6X2 |  |  | EA |  | 9
163 | PBC6X4 | COUPLING BLACK 3/4 IN X 1/2 IN BELL REDUCER CLASS 150 - PBC6X4 |  |  | EA |  | 17
164 | PBC8X6 | COUPLING BLACK 1 IN X 3/4 IN BELL REDUCER CLASS 150 - PBC8X6 |  |  | EA |  | 7
165 | PBCBX8 | COUPLING BLACK 1-1/2 IN X 1 IN BELL REDUCER - PBCBX8 |  |  | EA |  | 6
166 | PBCBXA | COUPLING BLACK 1-1/2 IN X 1-1/4 IN BELL REDUCER - PBCBXA |  |  | EA |  | 6
167 | PBCA-4 | CAP BLACK 1/2 IN CLASS 150 - PBCA-4 |  |  | EA |  | 20
168 | PBCA-6 | CAP BLACK 3/4 IN CLASS 150 - PBCA-6 |  |  | EA |  | 35
169 | PBCA-8 | CAP BLACK 1 IN CLASS 150 - PBCA-8 |  |  | EA |  | 8
170 | PBCA-A | CAP BLACK 1-1/4 IN CLASS 150 - PBCA-A |  |  | EA |  | 18
171 | PBCA-B | CAP BLACK 1-1/2 IN CLASS 150 - PBCA-B |  |  | EA |  | 7
172 | PBT-02 | TEE BLACK 1/4 IN CLASS 150 - PBT-02 |  |  | EA |  | 6
173 | PBT-04 | TEE BLACK 1/2 IN CLASS 150 - PBT-04 |  |  | EA |  | 11
174 | PBT-06 | TEE BLACK 3/4 IN CLASS 150 - PBT-06 |  |  | EA |  | 19
175 | PBT-08 | TEE BLACK 1 IN CLASS 150 - PBT-08 |  |  | EA |  | 16
176 | PBT848 | TEE BLACK 1 IN X 1/2 IN X 1 IN CLASS 150 - PBT848 |  |  | EA |  | 6
177 | PFF-04 | FLANGE BLACK FLOOR 1/2 IN - PFF-04 |  |  | EA |  | 14
178 | PFF-06 | FLANGE BLACK FLOOR 3/4 IN - PFF-06 |  |  | EA |  | 21
179 | PFF-08 | FLANGE BLACK FLOOR 1 IN - PFF-08 |  |  | EA |  | 27
180 | PAL4-B | ELBOW DWV ABS 1-1/2 IN X 45 - PAL4-B |  |  | EA |  | 8
181 | PBL4-4 | ELBOW BLACK 1/2 IN X 45 CLASS 150 - PBL4-4 |  |  | EA |  | 6
182 | PBL4-6 | ELBOW BLACK 3/4 IN X 45 CLASS 150 - PBL4-6 |  |  | EA |  | 9
183 | PBL6X4 | ELBOW BLACK 3/4 IN X 1/2 IN CLASS 150 - PBL6X4 |  |  | EA |  | 7
184 | PBL9-1 | ELBOW BLACK 1/8 IN X 90 CLASS 150 - PBL9-1 |  |  | EA |  | 19
185 | PBL9-3 | ELBOW BLACK 3/8 IN X 90 CLASS 150 - PBL9-3 |  |  | EA |  | 8
186 | PBL9-4 | ELBOW BLACK 1/2 IN X 90 CLASS 150 - PBL9-4 |  |  | EA |  | 60
187 | PBL9-6 | ELBOW BLACK 3/4 IN X 90 CLASS 150 - PBL9-6 |  |  | EA |  | 49
188 | PBL9-8 | ELBOW BLACK 1 IN X 90 CLASS 150 - PBL9-8 |  |  | EA |  | 28
189 | PBL9-A | ELBOW BLACK 1-1/4 IN X 90 CLASS 150 - PBL9-A |  |  | EA |  | 11
190 | PBL9-B | ELBOW BLACK 1-1/2 IN X 90 CLASS 150 - PBL9-B |  |  | EA |  | 6
191 | PBL9-C | ELBOW BLACK MALLEABLE IRON 2 IN X 90 CLASS 150 - PBL9-C |  |  | EA |  | 15
192 | PBLS46 | ELBOW BLACK STREET 3/4 IN X 45 CLASS 150 - PBLS46 |  |  | EA |  | 16
193 | PBLS92 | ELBOW BLACK STREET 1/4 IN X 90 CLASS 150 - PBLS92 |  |  | EA |  | 16
194 | PBLS93 | ELBOW BLACK STREET 3/8 IN X 90 CLASS 150 - PBLS93 |  |  | EA |  | 8
195 | PBLS94 | ELBOW BLACK STREET 1/2 IN X 90 CLASS 150 - PBLS94 |  |  | EA |  | 19
196 | PBLS96 | ELBOW BLACK STREET 3/4 IN X 90 CLASS 150 - PBLS96 |  |  | EA |  | 10
197 | PBLS98 | ELBOW BLACK STREET 1IN X 90 CLASS 150 - PBLS98 |  |  | EA |  | 8
198 | PBLS9A | ELBOW BLACK STREET 1-1/4 IN X 90 CLASS 150 - PBLS9A |  |  | EA |  | 13
199 | PBLS9C | ELBOW BLACK STREET 2 IN X 90 STEEL CLASS 150 - PBLS9C |  |  | EA |  | 10
200 | PBP-02 | PLUG BLACK 1/4 IN (SOLID) CLASS 150 - PBP-02 |  |  | EA |  | 8
201 | PBP-03 | PLUG BLACK 3/8 IN (SOLID) CLASS 150 - PBP-03 |  |  | EA |  | 12
202 | PBP-04 | PLUG BLACK 1/2 IN (SOLID) CLASS 150 - PBP-04 |  |  | EA |  | 20
203 | PBP-06 | PLUG BLACK 3/4 IN (SOLID) CLASS 150 - PBP-06 |  |  | EA |  | 30
204 | PBP-08 | PLUG BLACK 1 IN (SOLID) CLASS 150 - PBP-08 |  |  | EA |  | 26
205 | PBP-0B | PLUG SOLID BLACK 1-1/2 IN CLASS 150 - PBP-0B |  |  | EA |  | 16
206 | PBP-0C | PLUG BLACK 2 IN SOLID CLASS 150 SQUARE HEAD - PBP-0C |  |  | EA |  | 10
207 | PBU-03 | UNION BLACK 3/8 IN 150 LB - PBU-03 |  |  | EA |  | 9
208 | PBUH-4 | UNION BLACK 1/2 IN 300 LB - PBUH-4 |  |  | EA |  | 36
209 | PBUH-6 | UNION BLACK 3/4 IN 300 LB - PBUH-6 |  |  | EA |  | 107
210 | PBUH-8 | UNION BLACK 1 IN 300 LB - PBUH-8 |  |  | EA |  | 37
211 | PBUH-A | UNION BLACK 1-1/4 IN 300 LB - PBUH-A |  |  | EA |  | 11
212 | PBUH-B | UNION BLACK 1-1/2 IN 300 LB - PBUH-B |  |  | EA |  | 16
213 | PBU-04 | UNION BLACK 1/2 IN 150 LB - PBU-04 |  |  | EA |  | 16
214 | PBUH-C | UNION BLACK 2 IN 300 LB - PBUH-C |  |  | EA |  | 29
215 | PHBB-3 | CLAMP BEAM MALABLE C 3/8-16 - PHBB-3 |  |  | EA |  | 59
216 | PHBB-4 | CLAMP BEAM MALABLE C 1/2-13 - PHBB-4 |  |  | EA |  | 14
217 | PHBC-6 | HANGER CLEVIS STEEL 3/4 IN - PHBC-6 |  |  | EA |  | 23
218 | PHBC-A | HANGER CLEVIS STEEL 1-1/4 IN - PHBC-A |  |  | EA |  | 60
219 | PHBC-C | HANGER CLEVIS STEEL 2 IN - PHBC-C |  |  | EA |  | 20
220 | PHBS-4 | CLAMP SPLIT RING STEEL 1/2 IN - PHBS-4 |  |  | EA |  | 9
221 | PHBT-6 | HANGER TEARDROP STEEL 3/4 IN - PHBT-6 |  |  | EA |  | 18
222 | PHCG-4 | CLAMP PIPE PLASTIC 1/2" OATEY # 33916 OR EQUIVALENT (PLUMB) - PHCG-4 |  |  | EA |  | 51
223 | PHCG-6 | CLAMP PIPE PLASTIC 3/4" OATEY # 33917 OR EQUIVALENT (PLUMB) - PHCG-6 |  |  | EA |  | 25
224 | PHCG-C | CLAMP PIPE PLASTIC 2" OATEY # 33946 OR EQUIVALENT - PHCG-C |  |  | EA |  | 46
225 | PVBI-2 | VALVE BALL FULL PORT 1/4" IPT APOLLO 77CLF-101-01 LEAD FREE - PVBI-2 | APOLLO 77 |  | EA |  | 78
226 | PVBI-3 | VALVE BALL FULL PORT 3/8" IPT APOLLO 77CLF-102-01-A LEAD FREE - PVBI-3 | APOLLO 77 |  | EA |  | 26
227 | PVBI-4 | VALVE BALL FULL PORT 1/2" IPT APOLLO 77CFL-103-01 LEAD FREE - PVBI-4 | APOLLO 77 |  | EA |  | 86
228 | PVBI-6 | VALVE BALL FULL PORT 3/4"IPT APOLLO(77CLF-104-01) LEAD FREE - PVBI-6 | APOLLO 77 |  | EA |  | 80
229 | PVBI-8 | VALVE BALL FULL PORT 1" IPT APOLLO # 77CLF-105-01 LEAD FREE - PVBI-8 | APOLLO 77 |  | EA |  | 31
230 | PVBI-A | VALVE BALL FULL PORT 1-1/4"IPT APOLLO #77CLF-106-01-A LEAD FREE - PVBI-A | APOLLO 77 |  | EA |  | 15
231 | PVBI-B | VALVE BALL FULL PORT 1-1/2"IPT APOLLO #77CLF-107-01A LEAD FRE - PVBI-B | APOLLO 77 |  | EA |  | 10
232 | PVBS-4 | VALVE BALL FULL PORT 1/2"SWEAT APOLLO #77CLF-203-01 LEAD FRE - PVBS-4 | APOLLO 77 |  | EA |  | 14
233 | PVBS-6 | VALVE BALL FULL PORT 3/4"SWEAT APOLLO 77CLF-204-01 LEAD FREE - PVBS-6 | APOLLO 77 |  | EA |  | 14
234 | PVBS-8 | VALVE BALL FULL PORT 1" SWEAT APOLLO #77CLF-205-01 LEAD FREE - PVBS-8 | APOLLO 77 |  | EA |  | 7
235 | PVCI-B | VALVE CHECK 1-1/2" IPT (NIBCO #T413Y) NO POTABLE - PVCI-B | NIBCO |  | EA |  | 11
236 | PVCS-6 | VALVE CHECK 3/4" SWEAT (NIBCO #S413Y)*NOT FOR POTABLE WATER* - PVCS-6 | NIBCO |  | EA |  | 12
237 | PVDI-4 | VALVE BOILER DRAIN 1/2 IN IPT LEAD FREE - PVDI-4 |  |  | EA |  | 8
238 | PVDI-6 | VALVE BOILER DRAIN 3/4 IN IPT LEAD FREE - PVDI-6 |  |  | EA |  | 20
239 | PVGI-6 | VALVE GATE 3/4 IN IPT (NIBCO #T134) NOT FOR POTABLE WATER - PVGI-6 | NIBCO |  | EA |  | 6
240 | PVBI-C | VALVE BALL FULL PORT 2 IN IPT APOLLO 77CLF-108-01 LEAD FREE - PVBI-C | APOLLO 77 |  | EA |  | 22
241 | PVCI-C | VALVE CHECK 2 IN IPT (NIBCO #T413Y) ***NOT FOR POTABLE WATER - PVCI-C | NIBCO |  | EA |  | 6
242 | PCB6X4 | BUSHING COPPER 3/4 IN X 1/2 IN - PCB6X4 |  |  | EA |  | 9
243 | PCB8X6 | BUSHING COPPER 1IN X 3/4 IN - PCB8X6 |  |  | EA |  | 9
244 | PCBCXB | BUSHING COPPER 2 IN X 1-1/2 IN - PCBCXB |  |  | EA |  | 8
245 | PCC-04 | COUPLING COPPER STOP 1/2 IN - PCC-04 |  |  | EA |  | 29
246 | PCC-06 | COUPLING COPPER STOP 3/4 IN - PCC-06 |  |  | EA |  | 20
247 | PCC-08 | COUPLING COPPER STOP 1 IN - PCC-08 |  |  | EA |  | 13
248 | PCCA-4 | CAP COPPER 1/2 IN - PCCA-4 |  |  | EA |  | 20
249 | PCCA-6 | CAP COPPER 3/4 IN - PCCA-6 |  |  | EA |  | 6
250 | PCCA-8 | CAP COPPER 1 IN - PCCA-8 |  |  | EA |  | 12
251 | PCC6X4 | COUPLING COPPER REDUCING 3/4 IN X 1/2 IN BELL REDUCER - PCC6X4 |  |  | EA |  | 7
252 | PCC8X4 | COUPLING COPPER REDUCING 1 IN X 1/2 IN BELL REDUCER - PCC8X4 |  |  | EA |  | 9
253 | PCFA-4 | ADAPTER COPPER FEMALE 1/2 IN - PCFA-4 |  |  | EA |  | 24
254 | PCFA-6 | ADAPTER COPPER FEMALE 3/4 IN - PCFA-6 |  |  | EA |  | 27
255 | PCFA-8 | ADAPTER COPPER FEMALE 1 IN - PCFA-8 |  |  | EA |  | 6
256 | PCFA-A | ADAPTER COPPER FEMALE 1-1/4 IN - PCFA-A |  |  | EA |  | 9
257 | PCFA42 | ADAPTER COPPER 1/2 IN X 1/4 IN FEMALE IPT - PCFA42 |  |  | EA |  | 18
258 | PCL4-4 | ELBOW COPPER 1/2 IN X 45 - PCL4-4 |  |  | EA |  | 57
259 | PCL4-6 | ELBOW COPPER 3/4 IN X 45 - PCL4-6 |  |  | EA |  | 37
260 | PCL9-4 | ELBOW COPPER 1/2 IN X 90 - PCL9-4 |  |  | EA |  | 66
261 | PCL9-6 | ELBOW COPPER 3/4 IN X 90 - PCL9-6 |  |  | EA |  | 23
262 | PCL9-8 | ELBOW COPPER 1 IN X 90 - PCL9-8 |  |  | EA |  | 15
263 | PCL9-A | ELBOW COPPER 1 1/4 IN X 90 - PCL9-A |  |  | EA |  | 6
264 | PCL9-C | ELBOW COPPER 2 IN X 90 - PCL9-C |  |  | EA |  | 11
265 | PCL4S6 | ELBOW COPPER STREET 3/4 IN X 45 - PCL4S6 |  |  | EA |  | 14
266 | PCL4S8 | ELBOW COPPER STREET 1 IN X 45 - PCL4S8 |  |  | EA |  | 7
267 | PCL9S4 | ELBOW COPPER STREET 1/2 IN X 90 - PCL9S4 |  |  | EA |  | 12
268 | PCL9S6 | ELBOW COPPER STREET 3/4 IN X 90 - PCL9S6 |  |  | EA |  | 10
269 | PCL9SC | ELBOW COPPER STREET 2 IN X 90 - PCL9SC |  |  | EA |  | 16
270 | PHCS-4 | CLAMP COPPER SPLIT RING 1/2 IN - PHCS-4 |  |  | EA |  | 20
271 | PHCS-6 | CLAMP COPPER SPLIT RING 3/4 IN - PHCS-6 |  |  | EA |  | 25
272 | PHCS-8 | CLAMP COPPER SPLIT RING 1 INCH - PHCS-8 |  |  | EA |  | 12
273 | PHCS-A | CLAMP COPPER SPLIT RING 1-1/4 IN - PHCS-A |  |  | EA |  | 22
274 | PHCT-6 | HANGER COPPER TEARDROP 3/4 IN - PHCT-6 |  |  | EA |  | 27
275 | PHCT-C | HANGER COPPER TEARDROP 2 IN - PHCT-C |  |  | EA |  | 12
276 | PHCU-4 | CLAMP COPPER UNISTRUT 5/8" OD 1/2" CT - PHCU-4 |  |  | EA |  | 64
277 | PHCU-6 | CLAMP COPPER UNISTRUT 7/8" OD 3/4" CT - PHCU-6 |  |  | EA |  | 31
278 | PHCU-8 | CLAMP COPPER UNISTRUT 1-1/8" OD 1" CT - PHCU-8 |  |  | EA |  | 28
279 | PHCU-B | CLAMP COPPER UNISTRUT 1-5/8" OD 1-1/2" CT - PHCU-B |  |  | EA |  | 25
280 | PCMA-4 | ADAPTER COPPER 1/2 IN SWEAT X 1/2 IN MALE NPT - PCMA-4 |  |  | EA |  | 21
281 | PCMA-6 | ADAPTER COPPER 3/4 IN SWEAT X 3/4 IN MALE NPT - PCMA-6 |  |  | EA |  | 36
282 | PCMA-8 | ADAPTER COPPER 1 IN SWEAT X1 IN MALE NPT - PCMA-8 |  |  | EA |  | 7
283 | PCMA-A | ADAPTER COPPER MALE 1-1/4 IN - PCMA-A |  |  | EA |  | 12
284 | PCMA-B | ADAPTER COPPER 1-1/2 IN SWEAT X 1-1/2IN MALE NPT - PCMA-B |  |  | EA |  | 7
285 | PCMA-C | ADAPTER COPPER 2 IN SWEAT X 2 IN MALE NPT - PCMA-C |  |  | EA |  | 9
286 | PCMA42 | ADAPTER COPPER 1/2 IN X 1/4 IN MIPT - PCMA42 |  |  | EA |  | 26
287 | PCSC-4 | COUPLING COPPER SLIP 1/2 IN - PCSC-4 |  |  | EA |  | 41
288 | PCSC-6 | COUPLING COPPER SLIP 3/4 IN - PCSC-6 |  |  | EA |  | 26
289 | PCSC-8 | COUPLING COPPER SLIP 1 IN - PCSC-8 |  |  | EA |  | 34
290 | PCSC-A | COUPLING COPPER SLIP 1-1/4 IN - PCSC-A |  |  | EA |  | 10
291 | PCSC-B | COUPLING COPPER SLIP 1-1/2 IN - PCSC-B |  |  | EA |  | 14
292 | PCSC-C | COUPLING COPPER SLIP 2 IN - PCSC-C |  |  | EA |  | 8
293 | PCSC-D | COUPLING COPPER SLIP 2-1/2 IN - PCSC-D |  |  | EA |  | 8
294 | PCT-04 | TEE COPPER 1/2 IN - PCT-04 |  |  | EA |  | 18
295 | PCT-06 | TEE COPPER 3/4 IN - PCT-06 |  |  | EA |  | 11
296 | PCT884 | TEE COPPER 1 IN X 1 IN X 1/2 IN - PCT884 |  |  | EA |  | 10
297 | PCU-04 | UNION COPPER 1/2 IN - PCU-04 |  |  | EA |  | 50
298 | PCU-06 | UNION COPPER 3/4 IN - PCU-06 |  |  | EA |  | 9
299 | PCU-08 | UNION COPPER 1 IN - PCU-08 |  |  | EA |  | 10
300 | PCU-0A | UNION COPPER 1-1/4 IN - PCU-0A |  |  | EA |  | 14
301 | PDU-06 | UNION DIELECTRIC FPT BRASS-SOLDER 3/4 IN (WATTS #3008) - PDU-06 | WATTS/3008 |  | EA |  | 12
302 | PB8415 | NIPPLE BLACK SCHEDULE 80 1/2 IN X 1-1/2 IN - PB8415 |  |  | EA |  | 63
303 | PB8420 | NIPPLE BLACK SCHEDULE 80 1/2 IN X 2 IN - PB8420 |  |  | EA |  | 66
304 | PB8425 | NIPPLE BLACK SCHEDULE 80 1/2 IN X 2-1/2 IN - PB8425 |  |  | EA |  | 45
305 | PB8430 | NIPPLE BLACK SCHEDULE 80 1/2 IN X 3 IN - PB8430 |  |  | EA |  | 40
306 | PB8435 | NIPPLE BLACK SCHEDULE 80 1/2 IN X 3-1/2 IN - PB8435 |  |  | EA |  | 26
307 | PB8440 | NIPPLE BLACK SCHEDULE 80 1/2 IN X 4 IN - PB8440 |  |  | EA |  | 34
308 | PB8445 | NIPPLE BLACK SCHEDULE 80 1/2 IN X 4-1/2 IN - PB8445 |  |  | EA |  | 11
309 | PB8450 | NIPPLE BLACK SCHEDULE 80 1/2 IN X 5 IN - PB8450 |  |  | EA |  | 23
310 | PB8455 | NIPPLE BLACK SCHEDULE 80 1/2 IN X 5-1/2 IN - PB8455 |  |  | EA |  | 29
311 | PB8460 | NIPPLE BLACK SCHEDULE 80 1/2 IN X 6 IN - PB8460 |  |  | EA |  | 35
312 | PB84CL | NIPPLE BLACK SCHEDULE 80 1/2 IN X CLOSE - PB84CL |  |  | EA |  | 68
313 | PB8615 | NIPPLE BLACK SCHEDULE 80 3/4 IN X 1-1/2 IN - PB8615 |  |  | EA |  | 71
314 | PB8620 | NIPPLE BLACK SCHEDULE 80 3/4 IN X 2 IN - PB8620 |  |  | EA |  | 70
315 | PB8625 | NIPPLE BLACK SCHEDULE 80 3/4 IN X 2-1/2 IN - PB8625 |  |  | EA |  | 132
316 | PB8630 | NIPPLE BLACK SCHEDULE 80 3/4 IN X 3 IN - PB8630 |  |  | EA |  | 98
317 | PB8640 | NIPPLE BLACK SCHEDULE 80 3/4 IN X 4 IN - PB8640 |  |  | EA |  | 57
318 | PB8650 | NIPPLE BLACK SCHEDULE 80 3/4 IN X 5 IN - PB8650 |  |  | EA |  | 36
319 | PB8660 | NIPPLE BLACK SCHEDULE 80 3/4 IN X 6 IN - PB8660 |  |  | EA |  | 45
320 | PB86CL | NIPPLE BLACK SCHEDULE 80 3/4 IN X CLOSE CAST IRON - PB86CL |  |  | EA |  | 55
321 | PB8820 | NIPPLE BLACK SCHEDULE 80 1 IN X 2 IN - PB8820 |  |  | EA |  | 24
322 | PB8825 | NIPPLE BLACK SCHEDULE 80 1IN X 2-1/2 IN - PB8825 |  |  | EA |  | 26
323 | PB8830 | NIPPLE BLACK SCHEDULE 80 1 IN X 3 IN - PB8830 |  |  | EA |  | 31
324 | PB8835 | NIPPLE BLACK SCHEDULE 80 1 IN X 3-1/2 IN - PB8835 |  |  | EA |  | 15
325 | PB8840 | NIPPLE BLACK SCHEDULE 80 1 IN X 4 IN - PB8840 |  |  | EA |  | 16
326 | PB8845 | NIPPLE BLACK SCHEDULE 80 1 IN X 4-1/2 IN - PB8845 |  |  | EA |  | 39
327 | PB8850 | NIPPLE BLACK SCHEDULE 80 1 IN X 5 IN - PB8850 |  |  | EA |  | 23
328 | PB8855 | NIPPLE BLACK SCHEDULE 80 1 IN X 5-1/2 IN - PB8855 |  |  | EA |  | 21
329 | PB8860 | NIPPLE BLACK SCHEDULE 80 1 IN X 6 IN - PB8860 |  |  | EA |  | 19
330 | PB88CL | NIPPLE BLACK SCHEDULE 80 1 IN X CLOSE - PB88CL |  |  | EA |  | 19
331 | PRL9-2 | ELBOW BRASS 1/4 IN X 90 [2] - PRL9-2 |  |  | EA |  | 33
332 | PRN1CL | NIPPLE BRASS 1/8 IN X CLOSE [2] - PRN1CL |  |  | EA |  | 7
333 | PRN220 | NIPPLE BRASS 1/4 IN X 2 IN [2] - PRN220 |  |  | EA |  | 61
334 | PRN260 | NIPPLE BRASS 1/4 IN X 6 IN [2] - PRN260 |  |  | EA |  | 17
335 | PRN230 | NIPPLE BRASS 1/4 IN X 3 IN - PRN230 |  |  | EA |  | 29
336 | PRN235 | NIPPLE BRASS 1/4 IN X 3-1/2 IN - PRN235 |  |  | EA |  | 17
337 | PRN240 | NIPPLE BRASS 1/4 IN X 4 IN - PRN240 |  |  | EA |  | 12
338 | PRN320 | NIPPLE BRASS 3/8 IN X 2 IN - PRN320 |  |  | EA |  | 12
339 | PRN330 | NIPPLE BRASS 3/8 IN X 3 IN - PRN330 |  |  | EA |  | 12
340 | PRN340 | NIPPLE BRASS 3/8 N X 4 IN - PRN340 |  |  | EA |  | 15
341 | PRN2CL | NIPPLE BRASS 1/4 IN X CLOSE [2] - PRN2CL |  |  | EA |  | 25
342 | PRN345 | NIPPLE BRASS 3/8 IN X 4-1/2 IN - PRN345 |  |  | EA |  | 9
343 | PRN3CL | NIPPLE BRASS 3/8 IN X CLOSE [2] - PRN3CL |  |  | EA |  | 31
344 | PRN415 | NIPPLE BRASS 1/2 IN X 1-1/2 IN - PRN415 |  |  | EA |  | 21
345 | PRN420 | NIPPLE BRASS 1/2 IN X 2 IN - PRN420 |  |  | EA |  | 18
346 | PRN430 | NIPPLE BRASS 1/2 IN X 3 IN - PRN430 |  |  | EA |  | 8
347 | PRN460 | NIPPLE BRASS 1/2 IN X 6 IN - PRN460 |  |  | EA |  | 21
348 | PRN615 | NIPPLE BRASS 3/4 IN X 1-1/2 IN - PRN615 |  |  | EA |  | 7
349 | PRN620 | NIPPLE BRASS 3/4 IN X 2 IN - PRN620 |  |  | EA |  | 11
350 | PRN625 | NIPPLE BRASS 3/4 IN X 2-1/2 IN - PRN625 |  |  | EA |  | 18
351 | PRN630 | NIPPLE BRASS 3/4 IN X 3 IN - PRN630 |  |  | EA |  | 9
352 | PRN640 | NIPPLE BRASS 3/4 IN X 4 IN - PRN640 |  |  | EA |  | 17
353 | PRN645 | NIPPLE BRASS 3/4 IN X 4-1/2 IN - PRN645 |  |  | EA |  | 7
354 | PRN655 | NIPPLE BRASS 3/4 IN X 5-1/2 IN - PRN655 |  |  | EA |  | 10
355 | PRN660 | NIPPLE BRASS 3/4 IN X 6 IN - PRN660 |  |  | EA |  | 6
356 | PRN6CL | NIPPLE BRASS 3/4 IN X CLOSE - PRN6CL |  |  | EA |  | 6
357 | PRN825 | NIPPLE BRASS 1 IN X 2-1/2 IN - PRN825 |  |  | EA |  | 8
358 | PRN830 | NIPPLE BRASS 1 IN X 3 IN - PRN830 |  |  | EA |  | 8
359 | PRN835 | NIPPLE BRASS 1 IN X 3-1/2 IN - PRN835 |  |  | EA |  | 6
360 | PRN845 | NIPPLE BRASS 1 IN X 4-1/2 IN - PRN845 |  |  | EA |  | 10
361 | PRN860 | NIPPLE BRASS 1 IN X 6 IN - PRN860 |  |  | EA |  | 13
362 | PRT-02 | TEE BRASS 1/4 IN [2] - PRT-02 |  |  | EA |  | 25
363 | PRU-02 | UNION BRASS 1/4 IN - PRU-02 |  |  | EA |  | 12
364 | PRP-02 | PLUG BRASS 1/4 IN **NOT FOR POTABLE WATER** - PRP-02 |  |  | EA |  | 19
365 | PBRP-4 | PLUG BRASS SQUARE HEAD 1/2 IN NPTF - PBRP-4 |  |  | EA |  | 11
366 | PIL4-8 | ELBOW CAST IRON 1IN X 45 CLASS 150 - PIL4-8 |  |  | EA |  | 8
367 | PIL9-2 | ELBOW CAST IRON 1/4 IN X 90 CLASS 150 - PIL9-2 |  |  | EA |  | 18
368 | PIL9-4 | ELBOW CAST IRON 1/2 IN X 90 CLASS 150 - PIL9-4 |  |  | EA |  | 25
369 | PIL9-6 | ELBOW CAST IRON 3/4 IN X 90 - PIL9-6 |  |  | EA |  | 79
370 | PIL9-8 | ELBOW CAST IRON 1 IN X 90 CLASS 150 - PIL9-8 |  |  | EA |  | 39
371 | PIL9-A | ELBOW CAST IRON 1-1/4 IN X 90 CLASS 150 - PIL9-A |  |  | EA |  | 13
372 | PIL9-B | ELBOW CAST IRON 1-1/2 IN X 90 CLASS 150 - PIL9-B |  |  | EA |  | 13
373 | PIL9-C | ELBOW CAST IRON 2 IN X 90 CLASS 150 - PIL9-C |  |  | EA |  | 55
374 | PIL964 | ELBOW CAST IRON 3/4 IN X 1/2 IN CLASS 150 - PIL964 |  |  | EA |  | 6
375 | PIT644 | TEE CAST IRON 3/4 IN X 1/2 IN X 1/2 IN CLASS 150 - PIT644 |  |  | EA |  | 10
376 | PIT844 | TEE CAST IRON 1 IN X 1/2 IN X 1/2 IN CLASS 150 - PIT844 |  |  | EA |  | 13
377 | PIT-04 | TEE CAST IRON 1/2 IN CLASS 150 - PIT-04 |  |  | EA |  | 10
378 | PIT-06 | TEE CAST IRON 3/4 IN CLASS 150 - PIT-06 |  |  | EA |  | 38
379 | PIT-08 | TEE CAST IRON 1 IN CLASS 150 - PIT-08 |  |  | EA |  | 10
380 | PIT-0C | TEE CAST IRON 2 IN CLASS 150 - PIT-0C |  |  | EA |  | 19
381 | PBFF-8 | FLANGE SLIP-ON 4 IN 8 BOLT SLIP STEAM - PBFF-8 |  |  | EA |  | 16
382 | PBFH-8 | FLANGE SLIP-ON 6 IN 8 BOLT SLIP STEAM - PBFH-8 |  |  | EA |  | 18
383 | PBCF-N | FLANGE CEILING 3/8-16 - PBCF-N |  |  | EA |  | 8
384 | PGKT-C | GASKET RING 2 IN X 1/16 IN (38VR21) - PGKT-C |  |  | EA |  | 36
385 | PGKT-D | GASKET RING 2-1/2 IN X 1/16 IN (38VR46) - PGKT-D |  |  | EA |  | 53
386 | PGKT-E | GASKET RING 3 IN X 1/16 IN (38VR47) - PGKT-E |  |  | EA |  | 46
387 | PGKT-F | GASKET RING 4 IN X 1/16 IN (38VR48) - PGKT-F |  |  | EA |  | 25
388 | PGKT-H | GASKET RING 6 IN X 1/16 IN (38VR49) - PGKT-H |  |  | EA |  | 30
389 | PGKT-I | GASKET RING 8 IN X 1/16 IN - PGKT-I |  |  | EA |  | 6
390 | PSTT15 | O-RING SET (SYMMONS #TT-15-1000) - PSTT15 | SYMMONS |  | EA |  | 25
391 | PSTT13 | O-RING SET (SYMMONS #TT-15-900) - PSTT13 | SYMMONS |  | EA |  | 33
392 | PSTT32 | GASKET UNION STOP (SYMMONS #TT-32A) - PSTT32 | SYMMONS |  | EA |  | 14
393 | P10015 | CLAMP 1 1/2" NO HUB CLAMP-ALL HI-TORQ 125 LB - P10015 | CLAMP HI-TORQUE 125LB |  | EA |  | 38
394 | P10020 | CLAMP 2" NO HUB CLAMP ALL HI-TORQ 125 LB - P10020 | CLAMP HI-TORQUE 125LB |  | EA |  | 27
395 | P10030 | CLAMP 3" NO HUB CLAMP ALL HI TORQ 125 LB - P10030 | CLAMP HI-TORQUE 125LB |  | EA |  | 18
396 | P10040 | CLAMP 4" NO HUB CLAMP ALL HI TORQUE 125 LB - P10040 | CLAMP HI-TORQUE 125LB |  | EA |  | 14
397 | PS76-3115 | GASKET, FOAM, URINAL (SLOAN # 101070, MODEL # 76-3115) - PS76-3115 | SLOAN |  | EA |  | 14
398 | PBG197 | PUMP BOOSTER BNFI (BELL & GOSSET #106197LF) - PBG197 | BELL & GOSSET |  | EA |  | 11
399 | PBG831 | IMPELLER BRONZE 2-3/4 IN DIA,SERIES 100(BELL&GOSSET #118431) - PBG831 | BELL & GOSSET |  | EA |  | 8
400 | PBG723 | COUPLER ASSEMBLY (BELL & GOSSET #118723) - PBG723 | BELL & GOSSET |  | EA |  | 9
401 | PBG134 | ASSEMBLY BEARING (BELL & GOSSET #189034LF) - PBG134 | BELL & GOSSET |  | EA |  | 6
402 | PS8838 | GASKET WAX MINERAL / URETHANE URINAL WALL RING - PS8838 |  |  | EA |  | 19
403 | PS7621 | GASKET WAX W/ PLASTIC HORN FLOOR CLOSET / FLANGE RING - PS7621 |  |  | EA |  | 49
404 | PS7999 | GASKET WAX MINERAL/URETHANE FLOOR OR WALL CLOSET BOWL RING - PS7999 |  |  | EA |  | 42
405 | P-DUR | CLOTH ABRASIVE 1-1/2"X10YRD 180 GRIT MILL-ROSE#70102/WHITLAM - P-DUR | MILL-ROSE/70102 |  | EA |  | 33
406 | PFLUX1 | FLUX SOLDER PASTE LEAD FREE 4 OZ (OATEY #5) - PFLUX1 | OATEY |  | EA |  | 10
407 | PFLUX5 | FLUX SOLDER PASTE 4 OZ (HARRIS #40027) - PFLUX5 | HARRIS |  | EA |  | 9
408 | PS-S56 | SOLDER BRAZING ALLOY1 SAFETY SILVER 56 (5OZ) (HARRIS #5631 NO SUB)(MUST BUY 2 FROM WOLFF) - PS-S56 | HARRIS |  | EA |  | 7
409 | PS-SB8 | SOLDER BEARING SILVER (STAY BRITE #8) - PS-SB8 |  |  | EA |  | 8
410 | PSSAFE | SOLDER SOLID WIRE 95% TIN 5% ANTIMONY 1 LB LEAD FREE - PSSAFE |  |  | EA |  | 6
411 | PFLUS1 | FLUSHOMETER 1-1/2 CLOSET (SLOAN MODEL #110) - PFLUS1 | SLOAN |  | EA |  | 17
412 | PFLUS4 | FLUSHOMETER 3/4 IN URINAL (SLOAN MODEL #186) - PFLUS4 | SLOAN |  | EA |  | 10
413 | PFLUS5 | FLUSHOMETER 1-1/4 URINAL (SLOAN MODEL #180) - PFLUS5 | SLOAN |  | EA |  | 7
414 | PS6362 | WASHER SLIP JOINT VINYL 1-1/2 IN - PS6362 |  |  | EA |  | 6
415 | PURKT37 | URINAL REPAIR KIT(SLOAN #3301037) - PURKT37 | SLOAN |  | EA |  | 41
416 | PCLKT36 | CLOSET REPAIR KIT (SLOAN #3301036) A-36-A - PCLKT36 | SLOAN/3301036 |  | EA |  | 122
417 | PF-895 | FAUCET LAVATORY POLISHED CHROME (CHICAGO #895-317CP) - PF-895 | CHICAGO |  | EA |  | 10
418 | PF1100 | FAUCET SINK / POLISHED CHROME (CHICAGO #1100) - PF1100 | CHICAGO |  | EA |  | 8
419 | PPUMP1 | PUMP SUMP 1/2 HP 115/230V 9' CORD SUBMERSIBLE 72GPM - ZOELLER (WBS#ZOL980001) - PPUMP1 | HYDROMATIC |  | EA |  | 21
420 | PPUMP2 | PUMP SUMP 1/3HP 1-115 9" SUBMERSIBLE WITH VERTICAL FLOAT SWITCH ZOELLER (WBS# ZOL530001) - PPUMP2 | HYDROMATIC |  | EA |  | 10
421 | PVRL-6 | VALVE REDUCING 3/4" 30PSI 10-35PSI LF (WATTS 3/4 LF25AUB-LP-Z3) - PVRL-6 | WATTS |  | EA |  | 14
422 | PVRR-6 | VALVE REDUCING 3/4" 50 PSI 22-75 PSI (WATTS 3/4 LF25AUB-Z3) - PVRR-6 | WATTS |  | EA |  | 9
423 | POB-01 | FLANGE CLOSET TWIST & SET 4 IN PVC - POB-01 |  |  | EA |  | 7
424 | PS-77637 | ELBOW COPPER 45 DEGREE FTGXC 1/2" PROPRESS 77637 APOLLO 10075054 - PS-77637 | PRO-PRESS |  | EA |  | 13
425 | PS-77317 | ELBOW, COPPER, 90 DEGREE, CXC, 1/2" PROPRESS 77317 APOLLO 10075554 - PS-77317 | PRO-PRESS |  | EA |  | 171
426 | PS-77347 | ELBOW, COPPER, 90 DEGREE, FTG X C 1/2" PROPRESS 77347 APOLLO 10075566 - PS-77347 | PRO-PRESS |  | EA |  | 46
427 | PS-77612 | ELBOW COPPER 45 DEGREE CXC 3/4" PROPRESS 77023 APOLLO 10075062 - PS-77612 | PRO-PRESS |  | EA |  | 21
428 | PS-77352 | ELBOW, COPPER, 90 DEGREE, FTGXC, 3/4" PROPRESS 77052 APOLLO 10075568 - PS-77352 | PRO-PRESS |  | EA |  | 37
429 | PS-77642 | ELBOW COPPER 45 DEGREE FTG X C 3/4" PROPRESS 77053 APOLLO 10075056 - PS-77642 | PRO-PRESS |  | EA |  | 12
430 | PS-77322 | ELBOW, COPPER, 90 DEGREE, CXC, 3/4" PROPRESS 77022 APOLLO 10075556- PS-77322 | PRO-PRESS |  | EA |  | 197
431 | PS-77357 | ELBOW, COPPER 90 DEGREE, FTGXC, 1", PROPRESS 77057 APOLLO 10075046 - PS-77357 | PRO-PRESS |  | EA |  | 10
432 | PS-77327 | ELBOW, COPPER,90 DEGREE,CXC, 1" PROPRESS 77027 APOLLO 10075052 - PS-77327 | PRO-PRESS |  | EA |  | 65
433 | PS-77622 | ELBOW COPPER 45 DEGREE CXC 1 1/4" PROPRESS #77033 APOLLO 10075090 - PS-77622 | PRO-PRESS |  | EA |  | 8
434 | PS-77332 | ELBOW, COPPER,90 DEGREE,CXC,1 1/4" PROPRESS 77032 APOLLO 10075078 - PS-77332 | PRO-PRESS |  | EA |  | 15
435 | PS-77362 | ELBOW, COPPER, 90 DEGREE, FTGXC, 1 1/4" PROPRESS 77062 APOLLO 10075072 - PS-77362 | PRO-PRESS |  | EA |  | 13
436 | PS-77337 | ELBOW, COPPER, 90, CXC, 1 1/2"X 1-1/2 PROPRESS 77037 APOLLO 10075080 - PS-77337 | PRO-PRESS |  | EA |  | 17
437 | PS-77367 | ELBOW COPPER 90 DEGREE FTG X C 1-1/2" PROPRESS 77067 APOLLO 10075074 - PS-77367 | PRO-PRESS |  | EA |  | 7
438 | PS-77342 | ELBOW,COPPER,90 DEGREE,CXC,2' PROPRESS 77042 APOLLO 10075082 - PS-77342 | PRO-PRESS |  | EA |  | 15
439 | PS-77712 | CAP COPPER C 1/2" PROPRESS 77712 APOLLO 10077850 - PS-77712 | PRO-PRESS |  | EA |  | 33
440 | PS-77717 | CAP COPPER C 3/4" PROPRESS 77717 APOLLO 10077851 - PS-77717 | PRO-PRESS |  | EA |  | 20
441 | PS-77722 | CAP COPPER C 1" PROPRESS 77722 APOLLO 10077852 - PS-77722 | PRO-PRESS |  | EA |  | 12
442 | PS-78047 | COUPLING COPPER W/STOP CXC 1/2' PROPRESS 78047 APOLLO 10075500 - PS-78047 | PRO-PRESS |  | EA |  | 93
443 | PS-78172 | COUPLING COPPER NO STOP CXC 1/2" PROPRESS 78172 APOLLO 10075513 - PS-78172 | PRO-PRESS |  | EA |  | 77
444 | PS-78052 | COUPLING COPPER W/STOP CXC 3/4" PROPRESS # 78052 APOLLO 10075502 - PS-78052 | PRO-PRESS |  | EA |  | 73
445 | PS-78177 | COUPLING COPPER NO STOP C X C 3/4" PROPRESS 78177 APOLLO 10075515 - PS-78177 | PRO-PRESS |  | EA |  | 57
446 | PS-78057 | COUPLING COPPER W/STOP CXC 1" PROPRESS 78057 APOLLO 10075504 - PS-78057 | PRO-PRESS |  | EA |  | 45
447 | PS-78182 | COUPLING COPPER NO STOP CXC 1' PROPRESS 78182 APOLLO 10075517 - PS-78182 | PRO-PRESS |  | EA |  | 47
448 | PS-78062 | COUPLING COPPER W/STOP CXC 1-1/4" PROPRESS 78062 APOLLO 10075506 - PS-78062 | PRO-PRESS |  | EA |  | 12
449 | PS-78067 | COUPLING COPPER W/STOP CXC 1 1/2" PROPRESS 78067 APOLLO 10075508 - PS-78067 | PRO-PRESS |  | EA |  | 21
450 | PS-78192 | COUPLING COPPER NO STOP CXC 1 1/2" PROPRESS 78192 APOLLO 10075523 - PS-78192 | PRO-PRESS |  | EA |  | 27
451 | PS-78072 | COUPLING COPPER W/STOP CXC 2" PROPRESS 78072 APOLLO 10075510 - PS-78072 | PRO-PRESS |  | EA |  | 12
452 | PS-78197 | COUPLING COPPER NO STOP CXC 2" PROPRESS 78197 APOLLO 10075527 - PS-78197 |  |  | EA |  | 14
453 | PS-78087 | REDUCER COPPER FTGXC 1" X 3/4" PROPRESS 78087 APOLLO 10075148 - PS-78087 | PRO-PRESS |  | EA |  | 15
454 | PS-78092 | REDUCER COPPER FTGXC 1 1/4 'X 3/4" PROPRESS 78092 APOLLO 10075154- PS-78092 | PRO-PRESS |  | EA |  | 8
455 | PS-78097 | REDUCER COPPER FTG X C 1 1/4" X 1" PROPRESS 78097 APOLLO 10075156 - PS-78097 | PRO-PRESS |  | EA |  | 31
456 | PS-77387 | TEE, COPPER, CXCXC, 3/4" PROPRESS 77387 APOLLO 10077740- PS-77387 | PRO-PRESS |  | EA |  | 24
457 | PS-77442 | TEE,COPPER,CXCXC,1 1/4" PROPRESS 77442 APOLLO 10077742- PS-77442 | PRO-PRESS |  | EA |  | 7
458 | PS-77457 | TEE COPPER CXCXCX 1 1/2" PROPRESS 77457 APOLLO 10077742 - PS-77457 | PRO-PRESS |  | EA |  | 8
459 | PS-79700 | UNION BRONZE CXF NPT 1/2"X1/2" (PRO-PRESS 79700 ) LEAD FREE - PS-79700 | PRO-PRESS |  | EA |  | 7
460 | PS-79730 | UNION BRNZ CXM NPT 1/2"X 1/2" (PRO-PRESS 79730) LOW LEAD - PS-79730 | PRO-PRESS |  | EA |  | 9
461 | PS-79735 | UNION BRONZE 3/4 IN X 3/4 IN (PRO-PRESS 79735) LOW LEAD - PS-79735 | PRO-PRESS |  | EA |  | 31
462 | PS-79230 | ADAPTER BRNZ CXM NPT 3/4"X 3/4" PRO-PRESS 79230 LOW LEAD - PS-79230 | PRO-PRESS |  | EA |  | 27
463 | PS-79245 | ADAPTER BRONZE CXM NPT 1 IN X 1 IN (PRO-PRESS 79245)LOW LEAD - PS-79245 | PRO-PRESS |  | EA |  | 7
464 | PS-79260 | ADAPTER BRNZ CXM NPT 1 1/4"X1 1/4" (PRO-PRESS 79260)LOW LEAD - PS-79260 | PRO-PRESS |  | EA |  | 21
465 | PPVP-A | PIPE PVC SCHED 40 1/2" (10' LENGHTH) - PPVP-A |  |  | EA |  | 9
466 | PPVP-B | PIPE PVC SCHED 40 3/4" 10FT - PPVP-B |  |  | EA |  | 8
467 | PPVP-D | PIPE PVC - DWV SCHED 40 1-1/2" 10' PIECES - PPVP-D |  |  | EA |  | 20
468 | PPVP-E | PIPE PVC SCHED 40 2" 10FT - PPVP-E |  |  | EA |  | 13
469 | P-INS6 | INSULATION PIPE 3/4 IN (RUBATEX #67812) - P-INS6 | RUBATEX/67812 |  | EA |  | 28
470 | P-INS8 | INSULATION PIPE 1 IN (RUBATEX OR DR) - P-INS8 | RUBATEX/611812 |  | EA |  | 17
471 | PCPIK4 | PIPE COPPER K 1/2 IN X 20 FT - PCPIK4 |  |  | EA |  | 13
472 | PCPIK6 | PIPE COPPER K 3/4 IN X 20 FT - PCPIK6 |  |  | EA |  | 12
473 | PCPIK8 | PIPE COPPER K 1 IN X 20 FT - PCPIK8 |  |  | EA |  | 6
474 | PCPI-4 | PIPE COPPER L 1/2 IN X 20 FT - PCPI-4 |  |  | EA |  | 20
475 | PCPI-6 | PIPE COPPER L 3/4 IN X 20 FT - PCPI-6 |  |  | EA |  | 24
476 | PCPI-8 | PIPE COPPER L 1 IN X 20 FT - PCPI-8 |  |  | EA |  | 8
477 | PBPI84 | PIPE BLACK SCHEDULE 80 1/2 IN X 21 FT - PBPI84 |  |  | EA |  | 6
478 | PBPI86 | PIPE BLACK SCHEDULE 80 3/4 IN X 21 FT - PBPI86 |  |  | EA |  | 18
479 | PBPI88 | PIPE BLACK SCHEDULE 80 1 IN X 21 FT - PBPI88 |  |  | EA |  | 14
480 | PBPI8B | PIPE BLACK SCHEDULE 80 1-1/2 IN X 21 FT - PBPI8B |  |  | EA |  | 13
481 | PBPI8C | PIPE BLACK SCHEDULE 80 2 IN X 21 FT - PBPI8C |  |  | EA |  | 11
482 | P-TS01 | SEAT TOILET ELONGATED WHITE OPEN FRONT (BEMIS #1955CT 000) - P-TS01 |  |  | EA |  | 68
483 | P-TS04 | SEAT TOILET WITH LID REGULAR WHITE (BEMIS #200TT) - P-TS04 | BEMIS/200TT |  | EA |  | 8
484 | P-TS02 | SEAT TOILET ELONGATED BLACK OPEN FRONT (BEMIS #1955CT 047) - P-TS02 |  |  | EA |  | 8
485 | PSTT11 | GASKET (SYMMONS #TT-11-1000) UNIVERSAL FOR TT-11-900 - PSTT11 |  |  | EA |  | 38
486 | PS7690 | NUT SUPPLY 1/2 IN COMPRESSION - PS7690 |  |  | EA |  | 34
487 | P-G-07 | GAUGE BOTTOM TAP DRY 1/4 IN NPT 2-1/2 IN FACE 0-100 LB 4FLVP - P-G-07 |  |  | EA |  | 31
488 | PS5039 | WASHER BIBB BEVELED 1/4 IN LONG - PS5039 |  |  | EA |  | 56
489 | PS5053 | WASHER BIBB FLAT RUBBER 1/4 IN X 1/2IN - PS5053 |  |  | EA |  | 139
490 | PS6141 | WASHER SLIP JOINT SHLW TAIL PC 1-7/16" 1-11/16" X 1/8" #716 - PS6141 |  |  | EA |  | 132
491 | PS7672 | FERRULE SLEEVE BRASS COMPRESSION LOW LEAD 1/2 TUB SIZE - PS7672 |  |  | EA |  | 33
492 | PS7250 | WASHER O-RING #25 - PS7250 |  |  | EA |  | 50
493 | PS0106 | SCREW BIBB 10-24 X 3/8 IN - PS0106 |  |  | EA |  | 52
494 | PS0116 | SCREW BIBB 10-32 X 1/2 IN - PS0116 |  |  | EA |  | 33
495 | PS0118 | SCREW BIBB 10-24 X 1/2 IN - PS0118 |  |  | EA |  | 91
496 | PS3205 | COUPLING LINK BEAD CHAIN 3/16 IN - PS3205 |  |  | EA |  | 102
497 | PS6042 | NUT URINAL 3/8 IN X 16 IN - PS6042 |  |  | EA |  | 68
498 | PS7078 | SCREW HANDLE OV 12/24 X 1/2 IN - PS7078 |  |  | EA |  | 46
499 | PS8673 | AERATOR NEOPERL 10 2260 6 PCA VANDAL PROOF .5 GPM 15/16 - 27 - PS8673 |  |  | EA |  | 125
500 | PS6204 | STRAINER 1-1/8 IN - PS6204 |  |  | EA |  | 35
501 | P101526F31 | FLUSHMATE POWER ASSIST SYSTEM M-101526-F31 - P101526F31 |  |  | EA |  | 39
502 | PINS341 | INSULATION, FIBERGLASS PIPE 3/4" X 1" X 3FT - PINS341 |  |  | EA |  | 155
503 | PINS11 | INSULATION, FIBERGLASS PIPE 1" X 1" X 3FT - PINS11 |  |  | EA |  | 33
504 | PINS21 | INSULATION, FIBERGLASS PIPE 2" X 1" X 3FT - PINS21 |  |  | EA |  | 81
505 | PBLS41 | ELBOW BLACK STREET 1/8 IN X 45 - PBLS41 |  |  | EA |  | 36
506 | PVGAS3 | VALVE GAS LEVER 3/8 IN IPT - PVGAS3 |  |  | EA |  | 30
507 | P3480E | ELBOW 3/4" SOCKET CONN FEMALE BOTH SIDES 90 DEG SCH 80 PVC - P3480E |  |  | EA |  | 60
508 | PSTT17 | CAP GASKET SYMMONS #TT-21-900 - PSTT17 |  |  | EA |  | 91
509 | PS-77377 | TEE, COPPER, CXCXC, 1/2" PROPRESS 77377 APOLLO 10077739- PS-77377 |  |  | EA |  | 49
510 | PS-77412 | TEE, COPPER, CXCXC 1" PROPRESS 77412 APOLLO 10077741 - PS-77412 |  |  | EA |  | 31
511 | PS-79920 | VALVE FULL PORT BALL 1/2" PROPRESS# 79920 - PS-79920 |  |  | EA |  | 69
512 | PS-79925 | VALVE FULL PORT BALL 3/4" PROPRESS #79925 - PS-79925 |  |  | EA |  | 66
513 | PS-77892 | ADAPTER BRONZE CXF NPT 1/2" X 1/2" PROPRESS 79300 APOLLO 10075750 - PS-77892 |  |  | EA |  | 35
514 | PS-77907 | ADAPTER BRONZE CXF, NPT, 3/4" X 3/4" PROPRESS 79315 APOLLO 10075752 - PS-77907 |  |  | EA |  | 42
515 | PS-77487 | TEE, REDUCING OUTLET COPPER,CXCXC, 2" X 2" X 1 1/4" PROPRESS 77487 APOLLO 10077758 - PS-77487 |  |  | EA |  | 30
516 | PS-77792 | UNION, BRNZ, CXM, NPT, 1"X1" (PROPRESS # 77792) CONTAINS LEAD - PS-77792 DELETE WHEN GONE |  |  | EA |  | 36
517 | PINSEL1234 | INSULATION, FIBERGLASS PIPE, 90 ELBOW 1/2" & 3/4" #7 - PINSEL1234 |  |  | EA |  | 111
518 | PINSEL2 | INSULATION, FIBERGLASS PIPE, 90 ELBOW 2" #11 - PINSEL2 |  |  | EA |  | 44
519 | P-FOUNT | FOUNTAIN ELKAY WATER #LZS8WSLK (NO SUBSTITUTION) - P-FOUNT | ELKAY/LZS8WSLK |  | EA |  | 67